{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Séqu directe"],"not_rendered":{"charts":1,"images":1,"macros":1,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Séqu directe","index":0,"n_rows":41,"n_cols":17,"rows_kept":41,"cut":false,"hidden":false,"merged":[[1,16,2,17]]}
[null,1,5]
[null,0.8,250,null,null,null,null,null,null,null,2,null,null,null,null,null,"Méthode d'obtention de la\ncomposante directe"]
[null,0.6,105]
[null,"Ampl","Angle",1,null,null,null,null,null,null,null,{"$error":"#N/A"},{"$error":"#N/A"}]
[null,1,5,null,{"$f":"D4*0","v":0},{"$f":"D4*$B5*COS($C5/180*PI())","v":0.99619469809174555},{"$f":"D4*0","v":0},{"$f":"D4*$B5*SIN($C5/180*PI())","v":8.7155742747658166E-2},null,null,null,{"$f":"M4*0","v":{"$error":"#N/A"}},{"$f":"0*M4","v":{"$error":"#N/A"}}]
[null,0.8,250,0,{"$f":"D4*D6*F5","v":0},{"$f":"D4*$B6*COS($C6/180*PI())+E6","v":-0.27361611466053554},{"$f":"D4*D6*H5","v":0},{"$f":"D4*$B6*SIN($C6/180*PI())+G6","v":-0.75175409662872661},{"$f":"1/INT(SQRT(F6^2+H6^2)/0.1)","v":0.125},null,null,{"$f":"M4*F8","v":{"$error":"#N/A"}},{"$f":"M4*H8","v":{"$error":"#N/A"}},{"$f":"SQRT(L6^2+M6^2)","v":{"$error":"#N/A"}},{"$f":"ATAN2(L6,M6)*180/PI()","v":{"$error":"#N/A"}},null,{"$f":"IF($K$2=1,\"ð\",\"\")","v":""}]
[null,0.6,105,0,{"$f":"D4*D7*F6","v":0},{"$f":"D4*$B7*COS($C7/180*PI())+E7","v":-0.1552914270615125},{"$f":"D4*D7*H6","v":0},{"$f":"D4*$B7*SIN($C7/180*PI())+G7","v":0.57955549577344101}]
[null,null,null,null,null,2.3635963962749531,null,7.0782857819689654E-2,null,null,null,{"$f":"L4*(L6/3-M6/N6*0.03)","v":{"$error":"#N/A"}},{"$f":"L4*(M6/3+L6/N6*0.03)","v":{"$error":"#N/A"}}]
[null,null,null,null,null,null,null,null,null,null,null,{"$f":"L4*(L6/3+M6/N6*0.03)","v":{"$error":"#N/A"}},{"$f":"(L4*M6/3-L6/N6*0.03)","v":{"$error":"#N/A"}},null,null,null,{"$f":"IF($K$2=2,\"ð\",\"\")","v":"ð"}]
[null,null,null,{"$error":"#N/A"},{"$error":"#N/A"},null,null,null,{"$error":"#N/A"}]
[null,0.3,250,{"$f":"$D$10*$B11*COS($C11/180*PI())","v":{"$error":"#N/A"}},{"$f":"$D$10*$B11*SIN($C11/180*PI())","v":{"$error":"#N/A"}},null,0.3,105,{"$f":"$I$10*$G11*COS($H11/180*PI())","v":{"$error":"#N/A"}},{"$f":"$I$10*$G11*SIN($H11/180*PI())","v":{"$error":"#N/A"}},null,{"$f":"L4*(2*L6/3-M6/N6*0.03)","v":{"$error":"#N/A"}},{"$f":"L4*(2*M6/3+L6/N6*0.03)","v":{"$error":"#N/A"}}]
[null,0.3,{"$f":"C11+10","v":260},{"$error":"#N/A"},{"$error":"#N/A"},null,0.3,{"$f":"H11+10","v":115},{"$f":"$I$10*$G12*COS($H12/180*PI())","v":{"$error":"#N/A"}},{"$error":"#N/A"},null,{"$f":"L4*(2*L6/3+M6/N6*0.03)","v":{"$error":"#N/A"}},{"$f":"L4*(2*M6/3-L6/N6*0.03)","v":{"$error":"#N/A"}},null,null,null,{"$f":"IF($K$2=3,\"ð\",\"\")","v":""}]
[null,0.3,{"$f":"C12+10","v":270},{"$error":"#N/A"},{"$error":"#N/A"},null,0.3,{"$f":"H12+10","v":125},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,0.3,280,{"$error":"#N/A"},{"$error":"#N/A"},null,0.3,135,{"$error":"#N/A"},{"$error":"#N/A"}]
[null,0.3,290,{"$error":"#N/A"},{"$error":"#N/A"},null,0.3,145,{"$error":"#N/A"},{"$error":"#N/A"},null,null,null,null,null,null,{"$f":"IF($K$2=4,\"ð\",\"\")","v":""}]
[null,0.3,300,{"$error":"#N/A"},{"$error":"#N/A"},null,0.3,155,{"$error":"#N/A"},{"$error":"#N/A"}]
[null,0.3,310,{"$error":"#N/A"},{"$error":"#N/A"},null,0.3,165,{"$error":"#N/A"},{"$error":"#N/A"}]
[null,0.3,320,{"$error":"#N/A"},{"$error":"#N/A"},null,0.3,175,{"$error":"#N/A"},{"$error":"#N/A"},null,null,null,null,null,null,{"$f":"IF($K$2=5,\"ð\",\"\")","v":""}]
[null,0.3,330,{"$error":"#N/A"},{"$error":"#N/A"},null,0.3,185,{"$error":"#N/A"},{"$error":"#N/A"}]
[null,0.3,340,{"$error":"#N/A"},{"$error":"#N/A"},null,0.3,195,{"$error":"#N/A"},{"$error":"#N/A"}]
[null,0.3,350,{"$error":"#N/A"},{"$error":"#N/A"},null,0.3,205,{"$error":"#N/A"},{"$error":"#N/A"},null,null,null,null,null,null,{"$f":"IF($K$2=6,\"ð\",\"\")","v":""}]
[null,0.3,360,{"$error":"#N/A"},{"$error":"#N/A"},null,0.3,215,{"$error":"#N/A"},{"$error":"#N/A"}]
[null,0.3,{"$f":"C22+10","v":370},{"$error":"#N/A"},{"$error":"#N/A"},null,0.3,225,{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,null,0.3,235,{"$error":"#N/A"},{"$error":"#N/A"},null,null,null,null,null,null,{"$f":"IF($K$2=7,\"ð\",\"\")","v":""}]
[null,0.27,{"$f":"C23-9","v":361},{"$f":"$D$10*$B25*COS($C25/180*PI())","v":{"$error":"#N/A"}},{"$f":"$D$10*$B25*SIN($C25/180*PI())","v":{"$error":"#N/A"}},null,0.3,245,{"$error":"#N/A"},{"$error":"#N/A"}]
[null,0.3,{"$f":"C23","v":370},{"$f":"$D$10*$B26*COS($C26/180*PI())","v":{"$error":"#N/A"}},{"$f":"$D$10*$B26*SIN($C26/180*PI())","v":{"$error":"#N/A"}},null,0.3,255,{"$error":"#N/A"},{"$error":"#N/A"}]
[null,0.33,{"$f":"C25","v":361},{"$f":"$D$10*$B27*COS($C27/180*PI())","v":{"$error":"#N/A"}},{"$f":"$D$10*$B27*SIN($C27/180*PI())","v":{"$error":"#N/A"}},null,0.3,265,{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,null,0.3,275,{"$error":"#N/A"},{"$error":"#N/A"}]
[null,0.3,{"$f":"C17","v":310},{"$f":"D17","v":{"$error":"#N/A"}},{"$error":"#N/A"},null,0.3,285,{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,null,0.3,295,{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,null,0.3,305,{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,null,0.3,{"$f":"H31+10","v":315},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,null,0.3,325,{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,null,0.3,335,{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,null,0.3,345,{"$error":"#N/A"},{"$error":"#N/A"}]
[]
[null,null,null,null,null,null,0.27,{"$f":"H35-9","v":336},{"$error":"#N/A"},{"$f":"$I$10*$G37*SIN($H37/180*PI())","v":{"$error":"#N/A"}}]
[null,null,null,null,null,null,0.3,{"$f":"H35","v":345},{"$error":"#N/A"},{"$f":"$I$10*$G38*SIN($H38/180*PI())","v":{"$error":"#N/A"}}]
[null,null,null,null,null,null,0.33,{"$f":"H37","v":336},{"$error":"#N/A"},{"$error":"#N/A"}]
[]
[null,null,null,null,null,null,0.3,{"$f":"H23","v":225},{"$f":"I23","v":{"$error":"#N/A"}},{"$f":"J23","v":{"$error":"#N/A"}}]